## Sheet1
Trade | CSI | Document Type | Document Type Plus
Audio Visual | 270000 | As-Built
|  | Testing/Demonstration | AV Demonstration
Equipment O&M
Warranty
Demountable Partitions | 102219 | As-Built
Warranty
Architectural Maintenance Instructions
Bathroom Partitions | 102200 | As-Built
Warranty
Architectural Maintenance Instructions
Operable Partitions | 102226 | As-Built
Equipment O&M
|  | Testing/Demonstration | Folding Partition Demonstration
Warranty
Carpet | 96800 | Architectural Maintenance Instructions
|  | Warranty | Manufacturer Warranty
Subcontractor Installation Warranty
Electric | 260000 | As-Built
|  | Testing/Demonstrations | PDU Start Up & Factory Reports
UPS Start Up & Factory Reports
Switch Gear Start Up Report
Equipment O&M
Warranty
Fire Alarm |  | As-Built
Warranty
Fabric / Acoustical Panels | 98000 | As-Built
Warranty
Architectural Maintenance Instructions
Fire Protection | 210000 | Testing/Demonstration | Hydro Test Report
Pre action Test Report
|  | Equipment O&M | Pre action O&Ms
As-Builts
Warranty
Food Service Equipment | 114000 | As-Built
Warranty
|  | Testing/Demonstration | ANSUL Test
Equipment
Steel | 52100 | As-Built
Warranty
HVAC | 230000 | As-Built
|  | Testing/Demonstration | Equipment Start Up Reports
Piping Pressure Test Reports
Chemical Cleaning Report
Balancing Report
Equipment O&M
Warranty
HVAC Controls |  | Equipment O&M
Warranty
|  | Testing/Demonstration | Controls Demonstration
Metal & Glass | 88000 | As-Built
Warranty
Architectural Maintenance Instructions
Millwork | 64000 | As-Built
Warranty
Architectural Maintenance Instructions
Office Fronts | 102219 | As-Built
Warranty
Architectural Maintenance Instructions
Plumbing | 220000 | As-Built
Equipment O&M
Warranty
|  | Testing/Demonstration | Gas Pressure Test Report
Raised Computer Floor |  | As-Built
Equipment O&M
Warranty
Flooring | 96000 | Warranty
Architectural Maintenance Instructions
Security |  | As-Built
Equipment O&M
|  | Testing/Demonstration | Security Demonstration
Warranty
Telecommunications | 270000 | As-Built
Warranty
|  | Testing/Demonstration | Data Test Report
Tile & Stone | 93000 | As-Built
Warranty
Architectural Maintenance Instructions
Window Treatment | 122000 | As-Built
Warranty
Architectural Maintenance Instructions
Equipment O&M
Lighting Fixtures | 265000 | Testing/Demonstrations | Lighting Demonstrations
Equipment O&M
Warranty
Paint | 99000 | Warranty
Architectural Maintenance Instructions
Wallcovering |  | Warranty
Architectural Maintenance Instructions
Sound Masking |  | Architectural Maintenance Instructions
As-built
Equipment O&Ms
|  | Testing/Demonstration | Acoustical Test
Ceiling | 92900 | As-Built
Warranty
Architectural Maintenance Instructions
Carpentry | 92900 | As-Built
Equipment O&M
Warranty
Toilet Partitions | 102100 | As-Built
Architectural Maintenance
Warranty
Concrete | 33000 | Warranty
As-Built
Roofing | 72200 | Warranty